SNOHOMISH COUNTY PUBLIC UTILITY DISTRICT NO. 1

Final Application for Operation of Customer-Owned Generation

FORM 6-2

Who should file this application:  Customers defined by the Preliminary Interconnection Study performed by the District as having generation capable of operating in parallel with the District system.  This application should be completed as soon as possible and returned to a District Representative in order to begin processing the request.

Information:  This application is used by the District to perform a Final Interconnection Study to determine the required equipment configuration for the District/customer interface.  Every effort should be made to supply as much information as possible.

Additional Requirements:  In addition to the items listed on this form, please attach a detailed one-line diagram of the proposed facility, all applicable elementary diagrams of major equipment (generators, transformers, inverters, circuit breakers, protective relays, etc.), specifications, test reports, etc., and any other applicable drawings or documents necessary for the proper design of the interconnection.

Equipment Testing:  Prior to final approval of the customer’s generation, protective and control system testing is required.  District representatives and Owner representatives must be present to witness and verify the testing for proper operation.

Owner/Applicant Information

Company

Mailing Address

City        	County        	State       	Zip

Phone        	Representative

Project Design/Engineering (Architect) (as applicable)

Company

Mailing Address

City       	County       	State       	Zip

Phone        	Representative

Electrical Contractor (as applicable)

Company

Mailing Address

City       	County       	State      	Zip

Phone         	Representative

Estimated Load Information

The following information will be used to help properly design the District/customer interconnection.  This information is not intended as a commitment or contract for billing purposes.

Minimum anticipated load (generation not operating)         	  kW        		 kVA

Maximum anticipated load (generation not operating)        	  kW        		 kVA

Please complete all applicable items.

Copy this page as required for additional generators.

Synchronous Generator Data

Unit No.(s)       	Total number of units with listed specifications on site

Manufacturer      	Mfg. Date

Serial No. (each)

Phases:	Single          Three          RPM      	Frequency (Hz)

Rated Output (for one unit)      	kW            	kVA

Rated Power Factor             %	Rated Voltage (Volts)      		Rated Amperes

Field Volts      	Field Amps      	Motoring Power (kW)

Synchronous Reactance (Xd)      	% on      	kVA base

Transient Reactance (X'd)      	% on      	kVA base

Subtransient Reactance (X"d)      	% on      	kVA base

Negative Sequence Reactance (Xs)      	% on      	kVA base

Zero Sequence Reactance (Xo)      		% on      	kVA base

Neutral Grounding Resistor (if applicable)

I2t or K (heating time constant)

Additional information

Induction Generator Data

Rotor Resistance (Rr)        	ohms	Stator Resistance (Rs)        	ohms

Rotor Reactance (Xr)         	ohms	Stator Reactance (Xs)         		ohms

Magnetizing Resistance (Xm)      	ohms 	Short Circuit Resistance (Xd")      		ohms

Design Letter      			Frame Size

Exciting Current       			Temp Rise (∘C)

Reactive Power Required      		Vars (no load)       	Vars (full load)

Additional information

Prime Mover (please complete all applicable items)

Unit No.        			Type

Manufacturer       			Serial No.

Mfg. Date      	HP Rated      		HP Max      	Inertia Constant     	lb-ft2

Energy Source (hydro, steam, wind, etc.)

Generator Transformer (please complete all applicable items)

Transformer (between generator and utility system)

Generator Unit No.

Manufacturer      	Mfg. Date

Serial No.

High Voltage     	kV, Connection:      	delta       wye, Neutral solidly grounded?

Low Voltage      	kV, Connection:      	delta       wye, Neutral solidly grounded?

Transformer Imepdance (Z)	     	% on      	kVA base

Transformer Resistance (R)	     	% on      	kVA base

Transformer Reactance (X)	     	% on      	kVA base

Neutral Grounding Resistor (if applicable)

Inverter Data (if applicable)

Manufacturer      	Model

Rated Power Factor          %	Rated Voltage (Volts)      		Rated Amperes

Inverter Type (ferroresonant, step, pulse-width modulation, etc.)

Type Commutation:	Forced      	Line

Harmonic Distortion:	Maximum Single Harmonic %

Maximum Total Harmonic %

NOTE:  Please attach all available calculations, test reports, and oscillographic prints showing inverter output voltage and current waveforms.

Power Circuit Breaker (if applicable)

Manufacturer      	Model

Rated Voltage (kV)        		Rated Amperes

Interrupting Rating (Amperes)      	BIL Rating      	kV

Interrupting medium / Insulating medium (ex: vacuum, gas, oil)      	/

Control Voltage (closing):      	 Volts	     AC	     DC

Control Voltage (tripping):      	 Volts	     AC	     DC        Battery        Charged Capacitor

Close Energy:       Spring	     Motor	     Hydraulic	     Pneumatic	     Other

Trip Energy:          Spring	     Motor	     Hydraulic	     Pneumatic	     Other

Bushing Current Transformers        	Max. Ratio        	Relay Accuracy Class

Multi ratio:         Yes	       No   (Available taps)

Miscellaneous (Please use this area and any additional sheets for applicable notes and comments)

Signature

The customer agrees to provide Snohomish County Public Utility District with additional information required to complete the interconnection.  The customer shall operate his equipment within the guidelines set forth by the Interconnection Requirements for Customer-Owned Generating Facility Connected to District Distribution/High Voltage System.

Applicant Signature       	Date

Information below to be completed by Snohomish County Public Utility District

PUD Customer Service Representative completes the following:

Executive Account Rep      	Phone

Project Name

Street Address

City      	County      	Phone

District service point location

(Attach map if available)

Equipment Testing

Testing performed and witnessed for proper operation on            /          /               by:

Owner      	Owner Rep      	Contractor

Executive Account Rep      	System Protection Rep

Project Designer / Engineer      	Construction Rep

Miscellaneous Comments / Notes

Copy of Application and Attachments to:

Power & Business Services AGM

Transmission & Distribution Engineering Services Manager

System Planning & Protection Manager

Distribution Construction Services Manager

* Original of this document to be retained in customer’s file in Customer Service Department *